## Slide 1: Lower East Coast Water Supply Performance: Is Your WUP Under Attack?
June 8, 2026

## Slide 2: ECSM
CEPP Ops 1.0
SPCU

## Slide 3: East Coast Surficial Model
Model Period of Record: 1985 – 2016
Cell size: 1,000 ft x 1,000 ft
SFWMD SEAWAT 2022
Evaluate 20-year planning demands
50-year (2075) model run also planned for Resiliency
SFWMD regional model to simulate and evaluate the effects of sea-level rise and saltwater intrusion in the surficial aquifer system

## Slide 4: East Coast Surficial Model
“…there are significant differences between observed and simulated temporal water level response at specific wells.”
“Potential users of the ECSM should note that because of recognized data limitations, model simulation is more appropriate at sub-regional and regional scales rather than local or site-specific scales for simulation of hydrologic conditions.”

## Slide 5: East Coast Surficial Model
Peer Review
Additional data collection
Not all calibration targets met
Needs sensitivity testing
Recommend looks at simulation differences, not direct results
SFWMD
Continuing model revisions and calibration

## Slide 7: CEPP Ops 1.0

## Slide 8: CEPP Ops 1.0
Goal of Central Everglades Planning Project (CEPP) Ops 1.0: maximize system-wide benefits towards incremental achievement of CEPP objectives based on consideration of year-to-year variable rainfall and hydrologic conditions

## Slide 9: CEPP Ops 1.0
Plan Formulation Criteria:
Indigenous Knowledge
Ecology
Water Supply
Flood Risk Management
Recreation
Water Quality

## Slide 10: CEPP Ops 1.0
Plan Formulation Criteria:
Indigenous Knowledge
Ecology
Water Supply
Flood Risk Management
Recreation
Water Quality

## Slide 17
Second
Periodic
Comprehensive Everglades Restoration Plan
Update

## Slide 19
SPCU Model Decision Tree

## Slide 20: SPCU Project Decisions
Future With Project (CERPB)

## Slide 21
Decrease in levee seepage

## Slide 22
Decrease in levee seepage
Increase in Impoundment deliveries

## Slide 23
Decrease in levee seepage
Increase in Impoundment deliveries
Increased reliance on WCAs in SA1 and SA2

## Slide 24
Decrease in levee seepage
Increase in Impoundment deliveries
Increased reliance on WCAs in SA1 and SA2
Sharp decrease in WCAs in SA3

## Slide 25
Future Without (FWO)
SPCU (CERPB)
Annual Averages
8.8 MGD from ASR
321 MGD in reuse

## Slide 26
CERPB results better than FWO
CERPB results worse than 2000 baseline
Results contingent upon CERP projects

## Slide 27
CEPP Ops 1.0
SPCU
Savings Clause
Water Resources Development Act (WRDA) of 2000
The “Savings Clause” does apply and an evaluation is required

## Slide 28
CEPP Ops 1.0
SPCU
Savings Clause
Water Resources Development Act (WRDA) of 2000
The “Savings Clause” does apply and an evaluation is required
Exercise your Federal and State rights through participation

## Slide 29: steven@gmawater.com 561-318-9532 Thank you.